OraQuick HCV Rapid Testing

Lab Supplies & Equipment

OraQuick HCV Rapid Antibody Testing Supplies - provided

- External Controls – set of 2

- Testing Devices/equipment

Additional Supplies / Equipment Required

- Alcohol-based hand sanitizer gel

- Alcohol pads

- Red biohazard stick-on bags – available from Safco Dental Supply

- Bio hazard sharps container - available from Sam’s Club and CVS.

- Bio hazard sign for the fridge

- Timer that makes an audible sound when time is up

- Disposable latex or nitrile gloves

- Disposable, absorbent workspace cover

  - Available from most pet stores

  - Or at Wal‐Mart near Depends.

- Disinfectant wipes

  - Cavi Wipes or

  - 10% bleach / 90% water solution

- Sterile Gauze pads

- Indelible marker (Sharpie)

- Lancets

- Minimum / Maximum Thermometers – available from VWR International

  - For fridge where controls are stored

  - For room where test kits are stored

- Pen

- Refrigerator – for controls and specimens only, no food storage

- Sharpie (indelible marker)

- Watch or clock

Additional Supplies / Equipment Required

Alcohol-based hand sanitizer gel

- Alcohol pads

- Bio hazard bags - large

- Bio hazard sharps container - available from Sam’s Club and CVS.

- Bio hazard sign for the fridge

- Desk-top bio hazard bags and stand - available from Bel-Art.

- Digital Timer that makes an audible sound when time is up

- Disposable, absorbent workspace cover (puppy pads available from most pet stores)

- Disinfectant wipes

  - Cavi Wipes available from Vitality Medical,  www.vitalitymedical.com or 800.397.5899

  - Different brands also available.

  - Note: to be effective, wipes must be used in accordance with manufacturer’s instructions.

- Gauze pads

- Indelible marker (Sharpie)

- Lancets

- Latex or nitrile disposable gloves

- Minimum / Maximum Thermometer for fridge/room where test kits are stored

  - Min/Max thermometer available from VWR International

  - 800.932.5000 or www.vwrsp.com

  - Price $18.55. Item No. 82021‐172

- Pen

- Sharpie (indelible marker)

- Small refrigerator – for controls and specimens only, no food storage

- Watch or clock