Agency ___________________________________   Site ______________________________   Operator(s) ________________________________

| Date | Operator Initials | QC Code | Temp | Test Device |  | Control Pack |  | Reactive HIV-1 Control |  |  | Reactive HIV-2 Control |  |  | Non-reactive Control |  |  | Result Acceptable? |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Lot # on test device | Exp date | Lot # on Control Pack Box | Exp date | Start time | End Time | Circle Result | Start time | End Time | Circle Result | Start time | End time | Circle Result |  |  |
|  |  |  |  |  |  |  |  |  |  | R N I |  |  | R N I |  |  | R N I | Y | N |
|  |  |  |  |  |  |  |  |  |  | R N I |  |  | R N I |  |  | R N I | Y | N |
|  |  |  |  |  |  |  |  |  |  | R N I |  |  | R N I |  |  | R N I | Y | N |
|  |  |  |  |  |  |  |  |  |  | R N I |  |  | R N I |  |  | R N I | Y | N |
|  |  |  |  |  |  |  |  |  |  | R N I |  |  | R N I |  |  | R N I | Y | N |
|  |  |  |  |  |  |  |  |  |  | R N I |  |  | R N I |  |  | R N I | Y | N |
|  |  |  |  |  |  |  |  |  |  | R N I |  |  | R N I |  |  | R N I | Y | N |
|  |  |  |  |  |  |  |  |  |  | R N I |  |  | R N I |  |  | R N I | Y | N |
| QC Code (reason for running external controls) - New setting - New operator - New test kit lot - New test kit shipment - Environmental change – temp outside range in storage area - Environmental change – temp outside range in test area - Scheduled, periodic test - Other (document reason on back) |  |  |  |  |  |  |  |  |  | R – reactive N – non-reactive I - invalid |  | Acceptable Results Non-reactive, reactive HIV-1, and reactive HIV-2 controls must yield correct results. If any one of the three yields an incorrect result, the results are unacceptable. DO NOT conduct any tests until the problem is resolved. Document the problem and corrective action taken on the back of this form. |  |  |  |  |  |  |